## Schedule 1
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 1
Plant and Mandatory Spare Parts Supplied from Abroad
Item | Description | Unit | Qty | Unit Price |  | Total Price
|  |  |  | Foreign Currency Portion | Local Currency Portion | Foreign | Local
Bidders shall enter a code representing the country of origin of all imported plant and equipement.
Specify currency create and use as many columns for unit price and total price as there are currencies
Overview Details Price Sheets
1 | Preliminary Works
2 | Foundations
2A | 400kV tower foundation
2B | 132kV tower foundation
3 | Towers
3A | 400kV Towers
3B | 132kV Towers
3C | Tower Tests
4 | Conductor, OPGW, Earth Wire, Insulators & associated items
5 | Tower Earthing
6 | Miscellaneous
7 | Mandatory spare parts and tools
8 | Other Services
Total to schedule No 5 (Grand Summary)
Detailed Price Sheets
1 | Preliminary Works
1.1 | Mobilization Shall include store yards,site offices | lot | 1
1.2 | Line Survey Shall include profile drawings,tower spotting ,approval of routing and landmark for the Right of way (RoW) | route km | 26.5
1.3 | Soil investigation Shall include sample testing , data report | route km | 6.5
1.4 | Line Access Shall include bush clearing,access roads | route km | 6.5
1.5 | Foundation Design | lot | 1
1.6 | Tower Design | lot | 1
1.7 | Insulator Design | lot | 1
Total Preliminary Works
2A | 400kV Tower Foundation, including stub angles
2.1 | Suspension Tower 400S Foundations
2.1.1 | in hard rock ( Class 1) | per tower | 1
2.1.2 | in soft weathered rock (class 2) | per tower | 1
2.1.3 | in good soil condition ( Class 3) | per tower | 2
2.1.4 | in poor soil condition no water ( class 4) | per tower | 1
2.1.5 | in poor soil condition with water ( class 5) | per tower | 1
2.1.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.2 | Light angle Tower 400T10 Foundations
2.2.1 | in hard rock ( Class 1) | per tower | 1
2.2.2 | in soft weathered rock (class 2) | per tower | 1
2.2.3 | in good soil condition ( Class 3) | per tower | 1
2.2.4 | in poor soil condition no water ( class 4) | per tower | 1
2.2.5 | in poor soil condition with water ( class 5) | per tower | 1
2.2.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.3 | Medium angle Tower400T30 Foundations
2.3.1 | in hard rock ( Class 1) | per tower | 1
2.3.2 | in soft weathered rock (class 2) | per tower | 1
2.3.3 | in good soil condition ( Class 3) | per tower | 1
2.3.4 | in poor soil condition no water ( class 4) | per tower | 1
2.3.5 | in poor soil condition with water ( class 5) | per tower | 1
2.3.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 1
Plant and Mandatory Spare Parts Supplied from Abroad
2.4 | Heavy angle Tower 400T60 Foundations
2.4.1 | in hard rock ( Class 1) | per tower | 1
2.4.2 | in soft weathered rock (class 2) | per tower | 1
2.4.3 | in good soil condition ( Class 3) | per tower | 2
2.4.4 | in poor soil condition no water ( class 4) | per tower | 1
2.4.5 | in poor soil condition with water ( class 5) | per tower | 1
2.4.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.5 | Terminal Tower 400T90 Foundations
2.5.1 | in hard rock ( Class 1) | per tower | 1
2.5.2 | in soft weathered rock (class 2) | per tower | 1
2.5.3 | in good soil condition ( Class 3) | per tower | 2
2.5.4 | in poor soil condition no water ( class 4) | per tower | 1
2.5.5 | in poor soil condition with water ( class 5) | per tower | 1
2.5.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.6 | Transposition Tower D400TR Foundations
2.6.1 | in hard rock ( Class 1) | per tower | 1
2.6.2 | in soft weathered rock (class 2) | per tower | 1
2.6.3 | in good soil condition ( Class 3) | per tower | 1
2.6.4 | in poor soil condition no water ( class 4) | per tower | 1
2.6.5 | in poor soil condition with water ( class 5) | per tower | 1
2.6.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
Total all the 400kV foundation |  |  | 39
2B | 132kV Tower Foundation, including stub angles
2.7 | Suspension Tower 132S-SC Foundations
2.7.1 | in hard rock ( Class 1) | per tower | 1
2.7.2 | in soft weathered rock (class 2) | per tower | 1
2.7.3 | in good soil condition ( Class 3) | per tower | 3
2.7.4 | in poor soil condition no water ( class 4) | per tower | 1
2.7.5 | in poor soil condition with water ( class 5) | per tower | 1
2.7.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 8
2.8 | Medium angle Tower 132T30-SC Foundations
2.8.1 | in hard rock ( Class 1) | per tower | 1
2.8.2 | in soft weathered rock (class 2) | per tower | 1
2.8.3 | in good soil condition ( Class 3) | per tower | 1
2.8.4 | in poor soil condition no water ( class 4) | per tower | 1
2.8.5 | in poor soil condition with water ( class 5) | per tower | 1
2.8.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.9 | Heavy angle Tower 132T60-SC Foundations
2.9.1 | in hard rock ( Class 1) | per tower | 1
2.9.2 | in soft weathered rock (class 2) | per tower | 1
2.9.3 | in good soil condition ( Class 3) | per tower | 1
2.9.4 | in poor soil condition no water ( class 4) | per tower | 1
2.9.5 | in poor soil condition with water ( class 5) | per tower | 1
2.9.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.1 | Heavy angle Tower 132-SPECIAL-DC Foundations
2.10.1 | in hard rock ( Class 1) | per tower | 1
2.10.2 | in soft weathered rock (class 2) | per tower | 1
2.10.3 | in good soil condition ( Class 3) | per tower | 1
2.10.4 | in poor soil condition no water ( class 4) | per tower | 1
2.10.5 | in poor soil condition with water ( class 5) | per tower | 1
2.10.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 1
Plant and Mandatory Spare Parts Supplied from Abroad
2.11 | Suspension Tower 132S-DC Foundations
2.11.1 | in hard rock ( Class 1) | per tower | 1
2.11.2 | in soft weathered rock (class 2) | per tower | 1
2.11.3 | in good soil condition ( Class 3) | per tower | 5
2.11.4 | in poor soil condition no water ( class 4) | per tower | 1
2.11.5 | in poor soil condition with water ( class 5) | per tower | 1
2.11.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 10
2.12 | Light angle Tower 132T10-DC Foundations
2.12.1 | in hard rock ( Class 1) | per tower | 1
2.12.2 | in soft weathered rock (class 2) | per tower | 1
2.12.3 | in good soil condition ( Class 3) | per tower | 1
2.12.4 | in poor soil condition no water ( class 4) | per tower | 1
2.12.5 | in poor soil condition with water ( class 5) | per tower | 1
2.12.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.13 | Heavy angle Tower 132T60-DC Foundations
2.13.1 | in hard rock ( Class 1) | per tower | 1
2.13.2 | in soft weathered rock (class 2) | per tower | 1
2.13.3 | in good soil condition ( Class 3) | per tower | 1
2.13.4 | in poor soil condition no water ( class 4) | per tower | 1
2.13.5 | in poor soil condition with water ( class 5) | per tower | 1
2.13.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.14 | Terminal Tower 132TT-DC Foundations
2.14.1 | in hard rock ( Class 1) | per tower | 1
2.14.2 | in soft weathered rock (class 2) | per tower | 1
2.14.3 | in good soil condition ( Class 3) | per tower | 1
2.14.4 | in poor soil condition no water ( class 4) | per tower | 1
2.14.5 | in poor soil condition with water ( class 5) | per tower | 1
2.14.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.15 | Other necessary material and equipment | lot | 1
Total all the 132kV foundation |  |  | 54
Total Foundations |  |  | 93
3A | 400kV Towers
3.1 | Suspension Tower 400S
3.1.1 | Basic Tower for standard tower height | each | 3
3.1.2 | Body extension -3m | each | 3
3.1.3 | Body extension +3m | each | 1
3.1.4 | Body extension +6m | each | 1
3.1.5 | Body extension+9m | each | 1
3.1.6 | Body extension+12m | each | 1
3.1.7 | Body extension+18m | each | 1
3.1.8 | Leg Extension -1m | each | 4
3.1.9 | Leg Extension -2m | each | 4
3.1.10 | Leg Extension +0m | each | 12
3.1.11 | Leg Extension +1m | each | 4
3.1.12 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.2 | Light angle Tower 400T10
3.2.1 | Basic Tower for standard tower height | each | 1
3.2.2 | Body extension -3m | each | 1
3.2.3 | Body extension +3m | each | 1
3.2.4 | Body extension +6m | each | 1
3.2.5 | Body extension +9m | each | 1
3.2.6 | Body extension+12m | each | 1
3.2.7 | Leg Extension -1m | each | 4
3.2.8 | Leg Extension -2m | each | 4
3.2.9 | Leg Extension +0m | each | 4
3.2.10 | Leg Extension +1m | each | 4
3.2.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 1
Plant and Mandatory Spare Parts Supplied from Abroad
3.3 | Heavy angle Tower 400T30
3.3.1 | Basic Tower for standard tower height | each | 1
3.3.2 | Body extension -3m | each | 1
3.3.3 | Body extension +3m | each | 1
3.3.4 | Body extension +6m | each | 1
3.3.5 | Body extension +9m | each | 1
3.3.6 | Body extension+12m | each | 1
3.3.7 | Leg Extension -1m | each | 4
3.3.8 | Leg Extension -2m | each | 4
3.3.9 | Leg Extension +0m | each | 4
3.3.10 | Leg Extension +1m | each | 4
3.3.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.4 | Heavy angle Tower 400T60
3.4.1 | Basic Tower for standard tower height | each | 3
3.4.2 | Body extension -3m | each | 2
3.4.3 | Body extension +3m | each | 1
3.4.4 | Body extension +6m | each | 1
3.4.5 | Body extension +9m | each | 1
3.4.6 | Body extension+12m | each | 1
3.4.7 | Leg Extension -1m | each | 4
3.4.8 | Leg Extension -2m | each | 4
3.4.9 | Leg Extension +0m | each | 12
3.4.10 | Leg Extension +1m | each | 4
3.4.11 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.5 | Terminal Tower 400T90
3.5.1 | Basic Tower for standard tower height | each | 3
3.5.2 | Leg Extension -1m | each | 4
3.5.3 | Leg Extension -2m | each | 4
3.5.4 | Leg Extension +0m | each | 12
3.5.5 | Leg Extension +1m | each | 4
3.5.6 | Leg Extension +2m | each | 4
3.5.7 | Total Towers |  | 3
3.6 | Transposition Tower D400TR
2.6.1 | Basic Tower for standard tower height | per tower | 1
3.6.2 | Leg Extension -1m | each | 4
3.6.3 | Leg Extension -2m | each | 4
3.6.4 | Leg Extension +0m | each | 4
3.6.5 | Leg Extension +1m | each | 4
3.6.5 | Leg Extension +2m | each | 4
3.6.6 | Total Towers |  | 1
| Total all 400kVTowers |  | 12
3B | 132kV Towers
3.7 | Suspension Tower 132S-SC
3.7.1 | Basic Tower for standard tower height | each | 3
3.7.2 | Body extension +0m | each | 1
3.7.3 | Body extension +3m | each | 1
3.7.4 | Body extension +6m | each | 1
3.7.5 | Body extension+9m | each | 1
3.7.6 | Body extension+12m | each | 3
3.7.7 | Body extension+18m | each | 1
3.7.8 | Leg Extension -1m | each | 4
3.7.9 | Leg Extension -2m | each | 4
3.7.10 | Leg Extension +0m | each | 12
3.7.11 | Leg Extension +1m | each | 4
3.7.12 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.8 | Medium angle Tower 132T30-SC
3.8.1 | Basic Tower for standard tower height | each | 1
3.8.2 | Body extension +0m | each | 1
3.8.3 | Body extension +3m | each | 1
3.8.4 | Body extension +6m | each | 1
3.8.5 | Body extension +9m | each | 1
3.8.6 | Body extension+12m | each | 1
3.8.7 | Leg Extension -1m | each | 4
3.8.8 | Leg Extension -2m | each | 4
3.8.9 | Leg Extension +0m | each | 4
3.8.10 | Leg Extension +1m | each | 4
3.8.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 1
Plant and Mandatory Spare Parts Supplied from Abroad
3.9 | Heavy angle Tower 132T60-SC
3.9.1 | Basic Tower for standard tower height | each | 1
3.9.2 | Body extension +0m | each | 1
3.9.3 | Body extension +3m | each | 1
3.9.4 | Body extension +6m | each | 1
3.9.5 | Body extension +9m | each | 1
3.9.6 | Body extension+12m | each | 1
3.9.7 | Leg Extension -1m | each | 4
3.9.8 | Leg Extension -2m | each | 4
3.9.9 | Leg Extension +0m | each | 4
3.9.10 | Leg Extension +1m | each | 4
3.9.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.1 | Heavy angle Tower 132-SPECIAL-DC
3.10.1 | Basic Tower for standard tower height | each | 1
3.10.2 | Body extension +0m | each | 1
3.10.3 | Body extension +3m | each | 1
3.10.4 | Body extension +6m | each | 1
3.10.5 | Body extension +9m | each | 1
3.10.6 | Body extension+12m | each | 1
3.10.7 | Leg Extension -1m | each | 4
3.10.8 | Leg Extension -2m | each | 4
3.10.9 | Leg Extension +0m | each | 4
3.10.10 | Leg Extension +1m | each | 4
3.10.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.11 | Suspension Tower 132S-DC
3.11.1 | Basic Tower for standard tower height | each | 5
3.11.2 | Body extension +0m | each | 1
3.11.3 | Body extension +3m | each | 3
3.11.4 | Body extension +6m | each | 1
3.11.5 | Body extension +9m | each | 1
3.11.6 | Body extension+12m | each | 1
3.11.7 | Leg Extension -1m | each | 4
3.11.8 | Leg Extension -2m | each | 4
3.11.9 | Leg Extension +0m | each | 20
3.11.10 | Leg Extension +1m | each | 4
3.11.11 | Leg Extension +2m | each | 4
| Total Towers |  | 5
3.12 | Light angle Tower 132T10-DC
3.12.1 | Basic Tower for standard tower height | per tower | 1
3.12.2 | Body extension +0m | each | 1
3.12.3 | Body extension +3m | each | 1
3.12.4 | Body extension +6m | each | 1
3.12.5 | Body extension +9m | each | 1
3.12.6 | Body extension+12m | each | 1
3.12.7 | Leg Extension -1m | each | 4
3.12.8 | Leg Extension -2m | each | 4
3.12.9 | Leg Extension +0m | each | 4
3.12.10 | Leg Extension +1m | each | 4
3.12.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.13 | Heavy angle Tower 132T60-DC
3.13.1 | Basic Tower for standard tower height | each | 1
3.13.2 | Body extension +0m | each | 1
3.13.3 | Body extension +3m | each | 1
3.13.4 | Body extension +6m | each | 1
3.13.5 | Body extension +9m | each | 1
3.13.6 | Body extension+12m | each | 1
3.13.7 | Leg Extension -1m | each | 4
3.13.8 | Leg Extension -2m | each | 4
3.13.9 | Leg Extension +0m | each | 4
3.13.10 | Leg Extension +1m | each | 4
3.13.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.14 | Terminal Tower 132TT-DC
3.14.1 | Basic Tower for standard tower height | per tower | 1
3.14.2 | Leg Extension -1m | each | 4
3.14.3 | Leg Extension -2m | each | 4
3.14.4 | Leg Extension +0m | each | 4
3.14.5 | Leg Extension +1m | each | 4
3.14.6 | Leg Extension +2m | each | 4
| Total Towers |  | 1
| Total all 132kVTowers |  | 14
| Total all Towers |  | 26
3.15 | Tower Load Test
3.15.1 | 132S-SC Standard height +18m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.2 | 132T30-SC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.3 | 132T60-SC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.4 | 132SPECIAL-DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.5 | 132S-DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.6 | 132T10-DC Standard height +12m Body Extn+2m Leg Extn tower type tested to 100% loading | each | 1
3.15.7 | 132T60-DC Standard height +12m Body Extn+2m Leg Extn tower type tested to 100% loading | each | 1
3.15.8 | 132TT-DC Standard height +12mBody Extn+2m Leg Extn tower type to 100% loading | each | 1
3.15.9 | 132-SPECIAL-DC Standard height+12mBody Extn+2m Leg Extn tower type to 100% loading | each | 1
3.15.10 | 400S-DC Standard height +18m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.11 | 400T10 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.12 | 400T30 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.13 | 400T60DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.14 | 400T90 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.15 | D400TRDC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
Total Tower Tests
3.16 | Other necessary material and equipment | lot | 1
Total Towers
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 1
Plant and Mandatory Spare Parts Supplied from Abroad
4A | 400kV Conductor, GSW & OPGW ( Including insulator strings)
4.1 | Insulator strings ( hardware and insulators)
4.1.1 | Single suspension string | set | 9
4.1.2 | Double suspension string | set | 9
4.1.3 | Single tension string | set | 66
4.1.4 | Double tension string | set | 54
4.1.5 | Jumper suspension string | set | 39
Total insulator strings & associated items
4.2 | Conductor
4.2.1 | 2 Circuits ( x 3 Phase x Quad "ACSR" LARK per phase) including joints and jumpers | km | 60
4.2.2 | Damper-spacers for conductor | each | 504
Total Phase Conductors & Damper-Spacers
4.3 | OPGW system
4.3.1 | OPGW | km | 6
4.3.2 | Suspension assembly | set | 3
4.3.3 | Tension assemblies double sets,including tower bonding,down drop connections and coils at joining towers | set | 2
4.3.4 | Tension assemblies double sets, including tower bonding for tension tower by-pass | set | 18
4.3.5 | Joint Boxes | set | 2
4.3.6 | Joint Termination Boxes | set | 2
4.3.7 | OPGW connection to S/S gantries | set | 2
4.3.8 | Stock bridge vibration damper | set | 72
Total OPGW & associated items
4.4 | Earth wire
4.4.1 | ACS Earth wire | km | 1.98
4.4.2 | Suspension assembly | set | 3
4.4.3 | Tension assemblies double sets,including tower bonding | set | 20
4.4.4 | Stock bridge vibration damper | set | 72
Total Earth Wire & associated items
4.5 | Other necessary material and equipment | lot | 1
Total for 400kV Conductor, OPGW & Earth Wire
4B | 132kV Conductor, GSW & OPGW ( Including insulator strings)
4.6 | 132kV Insulator strings ( hardware and insulators)
4.6.1 | Single suspension string | set | 30
4.6.2 | Double suspension string | set | 9
4.6.3 | Single tension string | set | 36
4.6.4 | Double tension string | set | 24
4.6.5 | Jumper suspension string | set | 15
Total insulator strings & associated items
4.7 | 132kV Conductor
4.7.1 | 2 Circuits (x 3 Phase x single ACSR LYNX per phase) including joints and jumpers | km | 23
4.7.2 | Dampers for conductor | each | 414
Total Phase Conductors & Damper-Spacers
4.8 | 132kV line-OPGW system
4.8.1 | OPGW | km | 8.5
4.8.2 | Suspension assembly | set | 13
4.8.3 | Tension assemblies double sets,including tower bonding,down drop connections and coils at joining towers | set | 2
4.8.4 | Tension assemblies double sets, including tower bonding for tension tower by-pass | set | 22
4.8.5 | Joint Boxes | set | 2
4.8.6 | Joint Termination Boxes | set | 2
4.8.7 | OPGW connection to S/S gantries | set | 2
4.8.8 | Stock bridge vibration damper | set | 92
Total OPGW & associated items
4.9 | 132kV line-Earth wire
4.9.1 | ACS Earth wire | km | 0
4.9.2 | Suspension assembly | set | 0
4.9.3 | Tension assemblies double sets,including tower bonding | set | 2
4.9.4 | Stock bridge vibration damper | set | 0
Total Earth Wire & associated items
4.1 | Other necessary material and equipment | lot | 1
Total for 132kV Conductor, OPGW & Earth Wire
Total Conductor, OPGW & Earth Wire
5 | Tower Earthing
5.1 | Basic Tower Earthing Step 1 | tower | 26
5.2 | Additional Tower Earthing Step 2 | tower | 19
5.3 | Additional Tower Earthing Step 3 | tower | 3
5.4 | Tower Earthing in the hard rock area (GEM) | tower | 2
5.5 | Grading Rings | tower | 3
5.6 | Other necessary material and equipment | lot | 1
Total Tower Earthing
6 | Miscellaneous
6.1 | Foundation protection | per tower | 3
6.2 | Painting towers ( Partial or Complete) with red/white colour for aircraft warning purpose | per tower | 10
6.3 | Aircraft warning system -warning spheres | per tower | 10
6.4 | Aircraft warning system -warning lights | per tower | 10
6.5 | Excavation & Back filling in lava fields, clayey, volcanic ash, murram, red, sandy or cotton soil | Cum | 1000
6.6 | Solid Rock Excavation including reinstatement | Cum | 1000
6.7 | Imported Back Filling | Cum | 1000
6.8 | Rip-Rap Stone works to protect against erosion | Sqm | 100
6.9 | 1 M X 1 M X 1 M rock filled Gabion installed to protect against erosion | Lmt | 50
6.1 | Steel Reinforcement including supply, Bending & placing with wire binding | Mt | 1
6.11 | Concreting including cost of formwork with fixing of template etc | Cum | 200
6.12 | Other necessary material and equipment | lot | 1
Total Miscellaneous
7 | Mandatory spare parts and tools
7.1 | Towers-132kV line
7.1.1 | Suspension tower 132S-DC | each | 2
7.1.2 | Light angle tower 132T10 | each | 1
7.1.3 | Heavy angle tower 132T60 | each | 1
7.1.4 | Heavy angle tower 132TT | each | 1
7.2 | Conductor
7.2.1 | Single "ACSR LARK" Conductor-400kV line | km | 2
7.2.2 | Single "ACSR LYNX" Conductor-132kV line | km | 3
7.3A | Insulator String & hardware for 400kV line
7.3.1 | Single suspension | set | 6
7.3.2 | Double suspension | set | 6
7.3.3 | Single tension | set | 12
7.3.4 | Double tension |  | 12
7.3.5 | Damper-spacer for conductor | pcs | 100
7.3.6 | Vibration dampers for OPGW,including protection armor rods for install | pcs | 50
7.3B | Insulator String & hardware for 132kV line
7.3.1 | Single suspension | set | 6
7.3.2 | Double suspension | set | 6
7.3.3 | Single tension | set | 12
7.3.4 | Double tension |  | 12
7.3.5 | Damper-spacer for conductor | pcs | 100
7.3.6 | Vibration dampers for OPGW,including protection armor rods for install | pcs | 50
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 1
Plant and Mandatory Spare Parts Supplied from Abroad
7.4 A | OPGW for 400kV line
7.4.1 | OPGW-2 no. 5km drums | km | 10
7.4.2 | OPGW Joint boxes | set | 1
7.4.3 | Suspension AGS clamps | pcs | 10
7.4.4 | Tension spirals sets | pcs | 10
7.4.5 | Earth connections | pcs | 10
7.4.6 | Down drops OPGW-Tower clamps | lot | 1
7.4.7 | Gantry box | pcs | 2
7.4.8 | Termination box | pcs | 2
7.4.9 | Splice kits | pcs | 2
7.4.10 | Pig tails | pcs | 2
7.4.11 | FC/PC connectors | set | 2
7.4.12 | Special tools for cutting back OPGW and U/G fibre optic cables | set | 1
7.4.13 | Special tools for preparing the fibre for jointing | set | 1
7.4.14 | Fusion splices | lot | 1
7.4.15 | Optical time Domain Refelctors (OTDR) | set | 1
7.4.16 | Optical fibre cleaning kits and cleaver tools | set | 1
7.4.17 | Optical level meter | set | 1
7.4.18 | Laser power source | pcs | 1
7.4.19 | Tool kit | set | 2
7.4 B | OPGW for 132kV line
7.4.20 | OPGW-2 no. 5km drums | km | 10
7.4.21 | OPGW Joint boxes | set | 1
7.4.22 | Suspension AGS clamps | pcs | 10
7.4.23 | Tension spirals sets | pcs | 10
7.4.24 | Earth connections | pcs | 10
7.4.25 | Down drops OPGW-Tower clamps | lot | 1
7.4.26 | Gantry box | pcs | 2
7.4.27 | Termination box | pcs | 2
7.4.28 | Splice kits | pcs | 2
7.4.29 | Pig tails | pcs | 2
7.4.30 | FC/PC connectors | set | 2
7.4.31 | Special tools for cutting back OPGW and U/G fibre optic cables | set | 1
7.4.32 | Special tools for preparing the fibre for jointing | set | 1
7.4.33 | Fusion splices | lot | 1
7.4.34 | Optical time Domain Refelctors (OTDR) | set | 1
7.4.35 | Optical fibre cleaning kits and cleaver tools | set | 1
7.4.36 | Optical level meter | set | 1
7.4.37 | Laser power source | pcs | 1
7.4.38 | Tool kit | set | 2
Total Mandatory Tools and spare Parts
8 | Other Services
8.1 | Factory Acceptance Tests(FAT):
8.1.1 | 132kV Towers | ls | 1
8.1.2 | 400kV Towers | ls | 1
8.1.3 | Conductors | ls | 1
8.1.4 | OPGW | ls | 1
8.1.5 | Insulators | ls | 1
8.1.6 | Hardware & fittings | ls | 1
8.1.7 | Earthing system | ls | 2
8.1.8 | Conductor accessories | ls | 3
8.2 | Transport Services and Vehicles for the employer
8.2.1 | Transport Services - Vehicle Type 1 | Nos | 2
8.2.2 | Vehicle type 2 | Nos | 0
8.2.3 | Communication for the engineers and the client ( as per Section 4.5) | Nos | 10
Total ( To schedule No.5 Grand Summery)
Name of the Bidder
Signature of the Bidder
Country of origin Declaration Form
Item | Description |  |  |  | Country

## Schedule 2
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 2
Plant and Mandatory Spare Parts Supplied from within the Employer's Country
Item | Description | Unit | Qty | Unit Price |  | Total Price
|  |  |  | Foreign Currency Portion | Local Currency Portion | Foreign | Local
Bidders shall enter a code representing the country of origin of all imported plant and equipment.
Specify currency create and use as many columns for unit price and total price as there are currencies
Overview Details Price Sheets
1 | Preliminary Works
2 | Foundations
2A | 400kV tower foundation
2B | 132kV tower foundation
3 | Towers
3A | 400kV Towers
3B | 132kV Towers
3C | Tower Tests
4 | Conductor, OPGW, Earth Wire, Insulators & associated items
5 | Tower Earthing
6 | Miscellaneous
7 | Mandatory spare parts and tools
8 | Other Services
Total to schedule No 5 (Grand Summary)
Detailed Price Sheets
1 | Preliminary Works
1.1 | Mobilization Shall include store yards, site offices | lot | 1
1.2 | Line Survey Shall include profile drawings, tower spotting ,approval of routing and landmark for the Right of way (RoW) | route km | 26.5
1.3 | Soil investigation Shall include sample testing , data report | route km | 6.5
1.4 | Line Access Shall include bush clearing,access roads | route km | 6.5
1.5 | Foundation Design | lot | 1
1.6 | Tower Design | lot | 1
1.7 | Insulator Design | lot | 1
Total Preliminary Works
2A | 400kV Tower Foundation, including stub angles
2.1 | Suspension Tower 400S Foundations
2.1.1 | in hard rock ( Class 1) | per tower | 1
2.1.2 | in soft weathered rock (class 2) | per tower | 1
2.1.3 | in good soil condition ( Class 3) | per tower | 2
2.1.4 | in poor soil condition no water ( class 4) | per tower | 1
2.1.5 | in poor soil condition with water ( class 5) | per tower | 1
2.1.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.2 | Light angle Tower 400T10 Foundations
2.2.1 | in hard rock ( Class 1) | per tower | 1
2.2.2 | in soft weathered rock (class 2) | per tower | 1
2.2.3 | in good soil condition ( Class 3) | per tower | 1
2.2.4 | in poor soil condition no water ( class 4) | per tower | 1
2.2.5 | in poor soil condition with water ( class 5) | per tower | 1
2.2.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.3 | Medium angle Tower400T30 Foundations
2.3.1 | in hard rock ( Class 1) | per tower | 1
2.3.2 | in soft weathered rock (class 2) | per tower | 1
2.3.3 | in good soil condition ( Class 3) | per tower | 1
2.3.4 | in poor soil condition no water ( class 4) | per tower | 1
2.3.5 | in poor soil condition with water ( class 5) | per tower | 1
2.3.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 2
Plant and Mandatory Spare Parts Supplied from within the Employer's Country
2.4 | Heavy angle Tower 400T60 Foundations
2.4.1 | in hard rock ( Class 1) | per tower | 1
2.4.2 | in soft weathered rock (class 2) | per tower | 1
2.4.3 | in good soil condition ( Class 3) | per tower | 2
2.4.4 | in poor soil condition no water ( class 4) | per tower | 1
2.4.5 | in poor soil condition with water ( class 5) | per tower | 1
2.4.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.5 | Terminal Tower 400T90 Foundations
2.5.1 | in hard rock ( Class 1) | per tower | 1
2.5.2 | in soft weathered rock (class 2) | per tower | 1
2.5.3 | in good soil condition ( Class 3) | per tower | 2
2.5.4 | in poor soil condition no water ( class 4) | per tower | 1
2.5.5 | in poor soil condition with water ( class 5) | per tower | 1
2.5.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.6 | Transposition Tower D400TR Foundations
2.6.1 | in hard rock ( Class 1) | per tower | 1
2.6.2 | in soft weathered rock (class 2) | per tower | 1
2.6.3 | in good soil condition ( Class 3) | per tower | 1
2.6.4 | in poor soil condition no water ( class 4) | per tower | 1
2.6.5 | in poor soil condition with water ( class 5) | per tower | 1
2.6.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
Total all the 400kV foundation |  |  | 39
2B | 132kV Tower Foundation, including stub angles
2.7 | Suspension Tower 132S-SC Foundations
2.7.1 | in hard rock ( Class 1) | per tower | 1
2.7.2 | in soft weathered rock (class 2) | per tower | 1
2.7.3 | in good soil condition ( Class 3) | per tower | 3
2.7.4 | in poor soil condition no water ( class 4) | per tower | 1
2.7.5 | in poor soil condition with water ( class 5) | per tower | 1
2.7.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 8
2.8 | Medium angle Tower 132T30-SC Foundations
2.8.1 | in hard rock ( Class 1) | per tower | 1
2.8.2 | in soft weathered rock (class 2) | per tower | 1
2.8.3 | in good soil condition ( Class 3) | per tower | 1
2.8.4 | in poor soil condition no water ( class 4) | per tower | 1
2.8.5 | in poor soil condition with water ( class 5) | per tower | 1
2.8.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.9 | Heavy angle Tower 132T60-SC Foundations
2.9.1 | in hard rock ( Class 1) | per tower | 1
2.9.2 | in soft weathered rock (class 2) | per tower | 1
2.9.3 | in good soil condition ( Class 3) | per tower | 1
2.9.4 | in poor soil condition no water ( class 4) | per tower | 1
2.9.5 | in poor soil condition with water ( class 5) | per tower | 1
2.9.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.1 | Heavy angle Tower 132-SPECIAL-DC Foundations
2.10.1 | in hard rock ( Class 1) | per tower | 1
2.10.2 | in soft weathered rock (class 2) | per tower | 1
2.10.3 | in good soil condition ( Class 3) | per tower | 1
2.10.4 | in poor soil condition no water ( class 4) | per tower | 1
2.10.5 | in poor soil condition with water ( class 5) | per tower | 1
2.10.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 2
Plant and Mandatory Spare Parts Supplied from within the Employer's Country
2.11 | Suspension Tower 132S-DC Foundations
2.11.1 | in hard rock ( Class 1) | per tower | 1
2.11.2 | in soft weathered rock (class 2) | per tower | 1
2.11.3 | in good soil condition ( Class 3) | per tower | 5
2.11.4 | in poor soil condition no water ( class 4) | per tower | 1
2.11.5 | in poor soil condition with water ( class 5) | per tower | 1
2.11.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 10
2.12 | Light angle Tower 132T10-DC Foundations
2.12.1 | in hard rock ( Class 1) | per tower | 1
2.12.2 | in soft weathered rock (class 2) | per tower | 1
2.12.3 | in good soil condition ( Class 3) | per tower | 1
2.12.4 | in poor soil condition no water ( class 4) | per tower | 1
2.12.5 | in poor soil condition with water ( class 5) | per tower | 1
2.12.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.13 | Heavy angle Tower 132T60-DC Foundations
2.13.1 | in hard rock ( Class 1) | per tower | 1
2.13.2 | in soft weathered rock (class 2) | per tower | 1
2.13.3 | in good soil condition ( Class 3) | per tower | 1
2.13.4 | in poor soil condition no water ( class 4) | per tower | 1
2.13.5 | in poor soil condition with water ( class 5) | per tower | 1
2.13.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.14 | Terminal Tower 132TT-DC Foundations
2.14.1 | in hard rock ( Class 1) | per tower | 1
2.14.2 | in soft weathered rock (class 2) | per tower | 1
2.14.3 | in good soil condition ( Class 3) | per tower | 1
2.14.4 | in poor soil condition no water ( class 4) | per tower | 1
2.14.5 | in poor soil condition with water ( class 5) | per tower | 1
2.14.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.15 | Other necessary material and equipment | lot | 1
Total all the 132kV foundation |  |  | 54
Total Foundations |  |  | 93
3A | 400kV Towers
3.1 | Suspension Tower 400S
3.1.1 | Basic Tower for standard tower height | each | 3
3.1.2 | Body extension -3m | each | 3
3.1.3 | Body extension +3m | each | 1
3.1.4 | Body extension +6m | each | 1
3.1.5 | Body extension+9m | each | 1
3.1.6 | Body extension+12m | each | 1
3.1.7 | Body extension+18m | each | 1
3.1.8 | Leg Extension -1m | each | 4
3.1.9 | Leg Extension -2m | each | 4
3.1.10 | Leg Extension +0m | each | 12
3.1.11 | Leg Extension +1m | each | 4
3.1.12 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.2 | Light angle Tower 400T10
3.2.1 | Basic Tower for standard tower height | each | 1
3.2.2 | Body extension -3m | each | 1
3.2.3 | Body extension +3m | each | 1
3.2.4 | Body extension +6m | each | 1
3.2.5 | Body extension +9m | each | 1
3.2.6 | Body extension+12m | each | 1
3.2.7 | Leg Extension -1m | each | 4
3.2.8 | Leg Extension -2m | each | 4
3.2.9 | Leg Extension +0m | each | 4
3.2.10 | Leg Extension +1m | each | 4
3.2.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 2
Plant and Mandatory Spare Parts Supplied from within the Employer's Country
3.3 | Heavy angle Tower 400T30
3.3.1 | Basic Tower for standard tower height | each | 1
3.3.2 | Body extension -3m | each | 1
3.3.3 | Body extension +3m | each | 1
3.3.4 | Body extension +6m | each | 1
3.3.5 | Body extension +9m | each | 1
3.3.6 | Body extension+12m | each | 1
3.3.7 | Leg Extension -1m | each | 4
3.3.8 | Leg Extension -2m | each | 4
3.3.9 | Leg Extension +0m | each | 4
3.3.10 | Leg Extension +1m | each | 4
3.3.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.4 | Heavy angle Tower 400T60
3.4.1 | Basic Tower for standard tower height | each | 3
3.4.2 | Body extension -3m | each | 2
3.4.3 | Body extension +3m | each | 1
3.4.4 | Body extension +6m | each | 1
3.4.5 | Body extension +9m | each | 1
3.4.6 | Body extension+12m | each | 1
3.4.7 | Leg Extension -1m | each | 4
3.4.8 | Leg Extension -2m | each | 4
3.4.9 | Leg Extension +0m | each | 12
3.4.10 | Leg Extension +1m | each | 4
3.4.11 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.5 | Terminal Tower 400T90
3.5.1 | Basic Tower for standard tower height | each | 3
3.5.2 | Leg Extension -1m | each | 4
3.5.3 | Leg Extension -2m | each | 4
3.5.4 | Leg Extension +0m | each | 12
3.5.5 | Leg Extension +1m | each | 4
3.5.6 | Leg Extension +2m | each | 4
3.5.7 | Total Towers |  | 3
3.6 | Transposition Tower D400TR
2.6.1 | Basic Tower for standard tower height | per tower | 1
3.6.2 | Leg Extension -1m | each | 4
3.6.3 | Leg Extension -2m | each | 4
3.6.4 | Leg Extension +0m | each | 4
3.6.5 | Leg Extension +1m | each | 4
3.6.5 | Leg Extension +2m | each | 4
3.6.6 | Total Towers |  | 1
| Total all 400kVTowers |  | 12
3B | 132kV Towers
3.7 | Suspension Tower 132S-SC
3.7.1 | Basic Tower for standard tower height | each | 3
3.7.2 | Body extension +0m | each | 1
3.7.3 | Body extension +3m | each | 1
3.7.4 | Body extension +6m | each | 1
3.7.5 | Body extension+9m | each | 1
3.7.6 | Body extension+12m | each | 3
3.7.7 | Body extension+18m | each | 1
3.7.8 | Leg Extension -1m | each | 4
3.7.9 | Leg Extension -2m | each | 4
3.7.10 | Leg Extension +0m | each | 12
3.7.11 | Leg Extension +1m | each | 4
3.7.12 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.8 | Medium angle Tower 132T30-SC
3.8.1 | Basic Tower for standard tower height | each | 1
3.8.2 | Body extension +0m | each | 1
3.8.3 | Body extension +3m | each | 1
3.8.4 | Body extension +6m | each | 1
3.8.5 | Body extension +9m | each | 1
3.8.6 | Body extension+12m | each | 1
3.8.7 | Leg Extension -1m | each | 4
3.8.8 | Leg Extension -2m | each | 4
3.8.9 | Leg Extension +0m | each | 4
3.8.10 | Leg Extension +1m | each | 4
3.8.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 2
Plant and Mandatory Spare Parts Supplied from within the Employer's Country
3.9 | Heavy angle Tower 132T60-SC
3.9.1 | Basic Tower for standard tower height | each | 1
3.9.2 | Body extension +0m | each | 1
3.9.3 | Body extension +3m | each | 1
3.9.4 | Body extension +6m | each | 1
3.9.5 | Body extension +9m | each | 1
3.9.6 | Body extension+12m | each | 1
3.9.7 | Leg Extension -1m | each | 4
3.9.8 | Leg Extension -2m | each | 4
3.9.9 | Leg Extension +0m | each | 4
3.9.10 | Leg Extension +1m | each | 4
3.9.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.1 | Heavy angle Tower 132-SPECIAL-DC
3.10.1 | Basic Tower for standard tower height | each | 1
3.10.2 | Body extension +0m | each | 1
3.10.3 | Body extension +3m | each | 1
3.10.4 | Body extension +6m | each | 1
3.10.5 | Body extension +9m | each | 1
3.10.6 | Body extension+12m | each | 1
3.10.7 | Leg Extension -1m | each | 4
3.10.8 | Leg Extension -2m | each | 4
3.10.9 | Leg Extension +0m | each | 4
3.10.10 | Leg Extension +1m | each | 4
3.10.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.11 | Suspension Tower 132S-DC
3.11.1 | Basic Tower for standard tower height | each | 5
3.11.2 | Body extension +0m | each | 1
3.11.3 | Body extension +3m | each | 3
3.11.4 | Body extension +6m | each | 1
3.11.5 | Body extension +9m | each | 1
3.11.6 | Body extension+12m | each | 1
3.11.7 | Leg Extension -1m | each | 4
3.11.8 | Leg Extension -2m | each | 4
3.11.9 | Leg Extension +0m | each | 20
3.11.10 | Leg Extension +1m | each | 4
3.11.11 | Leg Extension +2m | each | 4
| Total Towers |  | 5
3.12 | Light angle Tower 132T10-DC
3.12.1 | Basic Tower for standard tower height | per tower | 1
3.12.2 | Body extension +0m | each | 1
3.12.3 | Body extension +3m | each | 1
3.12.4 | Body extension +6m | each | 1
3.12.5 | Body extension +9m | each | 1
3.12.6 | Body extension+12m | each | 1
3.12.7 | Leg Extension -1m | each | 4
3.12.8 | Leg Extension -2m | each | 4
3.12.9 | Leg Extension +0m | each | 4
3.12.10 | Leg Extension +1m | each | 4
3.12.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.13 | Heavy angle Tower 132T60-DC
3.13.1 | Basic Tower for standard tower height | each | 1
3.13.2 | Body extension +0m | each | 1
3.13.3 | Body extension +3m | each | 1
3.13.4 | Body extension +6m | each | 1
3.13.5 | Body extension +9m | each | 1
3.13.6 | Body extension+12m | each | 1
3.13.7 | Leg Extension -1m | each | 4
3.13.8 | Leg Extension -2m | each | 4
3.13.9 | Leg Extension +0m | each | 4
3.13.10 | Leg Extension +1m | each | 4
3.13.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.14 | Terminal Tower 132TT-DC
3.14.1 | Basic Tower for standard tower height | per tower | 1
3.14.2 | Leg Extension -1m | each | 4
3.14.3 | Leg Extension -2m | each | 4
3.14.4 | Leg Extension +0m | each | 4
3.14.5 | Leg Extension +1m | each | 4
3.14.6 | Leg Extension +2m | each | 4
| Total Towers |  | 1
| Total all 132kVTowers |  | 14
| Total all Towers |  | 26
3.15 | Tower Load Test
3.15.1 | 132S-SC Standard height +18m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.2 | 132T30-SC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.3 | 132T60-SC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.4 | 132SPECIAL-DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.5 | 132S-DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.6 | 132T10-DC Standard height +12m Body Extn+2m Leg Extn tower type tested to 100% loading | each | 1
3.15.7 | 132T60-DC Standard height +12m Body Extn+2m Leg Extn tower type tested to 100% loading | each | 1
3.15.8 | 132TT-DC Standard height +12mBody Extn+2m Leg Extn tower type to 100% loading | each | 1
3.15.9 | 132-SPECIAL-DC Standard height+12mBody Extn+2m Leg Extn tower type to 100% loading | each | 1
3.15.10 | 400S-DC Standard height +18m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.11 | 400T10 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.12 | 400T30 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.13 | 400T60DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.14 | 400T90 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.15 | D400TRDC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
Total Tower Tests
3.16 | Other necessary material and equipment | lot | 1
Total Towers
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 2
Plant and Mandatory Spare Parts Supplied from within the Employer's Country
4A | 400kV Conductor, GSW & OPGW ( Including insulator strings)
4.1 | Insulator strings ( hardware and insulators)
4.1.1 | Single suspension string | set | 9
4.1.2 | Double suspension string | set | 9
4.1.3 | Single tension string | set | 66
4.1.4 | Double tension string | set | 54
4.1.5 | Jumper suspension string | set | 39
Total insulator strings & associated items
4.2 | Conductor
4.2.1 | 2 Circuits ( x 3 Phase x Quad "ACSR" LARK per phase) including joints and jumpers | km | 60
4.2.2 | Damper-spacers for conductor | each | 504
Total Phase Conductors & Damper-Spacers
4.3 | OPGW system
4.3.1 | OPGW | km | 6
4.3.2 | Suspension assembly | set | 3
4.3.3 | Tension assemblies double sets, including tower bonding, down drop connections and coils at joining towers | set | 2
4.3.4 | Tension assemblies double sets, including tower bonding for tension tower by-pass | set | 18
4.3.5 | Joint Boxes | set | 2
4.3.6 | Joint Termination Boxes | set | 2
4.3.7 | OPGW connection to S/S gantries | set | 2
4.3.8 | Stock bridge vibration damper | set | 72
Total OPGW & associated items
4.4 | Earth wire
4.4.1 | ACS Earth wire | km | 1.98
4.4.2 | Suspension assembly | set | 3
4.4.3 | Tension assemblies double sets, including tower bonding | set | 20
4.4.4 | Stock bridge vibration damper | set | 72
Total Earth Wire & associated items
4.5 | Other necessary material and equipment | lot | 1
Total for 400kV Conductor, OPGW & Earth Wire
4B | 132kV Conductor, GSW & OPGW ( Including insulator strings)
4.6 | 132kV Insulator strings ( hardware and insulators)
4.6.1 | Single suspension string | set | 30
4.6.2 | Double suspension string | set | 9
4.6.3 | Single tension string | set | 36
4.6.4 | Double tension string | set | 24
4.6.5 | Jumper suspension string | set | 15
Total insulator strings & associated items
4.7 | 132kV Conductor
4.7.1 | 2 Circuits (x 3 Phase x single ACSR LYNX per phase) including joints and jumpers | km | 23
4.7.2 | Dampers for conductor | each | 414
Total Phase Conductors & Damper-Spacers
4.8 | 132kV line-OPGW system
4.8.1 | OPGW | km | 8.5
4.8.2 | Suspension assembly | set | 13
4.8.3 | Tension assemblies double sets, including tower bonding, down drop connections and coils at joining towers | set | 2
4.8.4 | Tension assemblies double sets, including tower bonding for tension tower by-pass | set | 22
4.8.5 | Joint Boxes | set | 2
4.8.6 | Joint Termination Boxes | set | 2
4.8.7 | OPGW connection to S/S gantries | set | 2
4.8.8 | Stock bridge vibration damper | set | 92
Total OPGW & associated items
4.9 | 132kV line-Earth wire
4.9.1 | ACS Earth wire | km | 0
4.9.2 | Suspension assembly | set | 0
4.9.3 | Tension assemblies double sets, including tower bonding | set | 2
4.9.4 | Stock bridge vibration damper | set | 0
Total Earth Wire & associated items
4.1 | Other necessary material and equipment | lot | 1
Total for 132kV Conductor, OPGW & Earth Wire
Total Conductor, OPGW & Earth Wire
5 | Tower Earthing
5.1 | Basic Tower Earthing Step 1 | tower | 26
5.2 | Additional Tower Earthing Step 2 | tower | 19
5.3 | Additional Tower Earthing Step 3 | tower | 3
5.4 | Tower Earthing in the hard rock area (GEM) | tower | 2
5.5 | Grading Rings | tower | 3
5.6 | Other necessary material and equipment | lot | 1
Total Tower Earthing
6 | Miscellaneous
6.1 | Foundation protection | per tower | 3
6.2 | Painting towers ( Partial or Complete) with red/white colour for aircraft warning purpose | per tower | 10
6.3 | Aircraft warning system -warning spheres | per tower | 10
6.4 | Aircraft warning system -warning lights | per tower | 10
6.5 | Excavation & Back filling in lava fields, clayey, volcanic ash, murram, red, sandy or cotton soil | Cum | 1000
6.6 | Solid Rock Excavation including reinstatement | Cum | 1000
6.7 | Imported Back Filling | Cum | 1000
6.8 | Rip-Rap Stone works to protect against erosion | Sqm | 100
6.9 | 1 M X 1 M X 1 M rock filled Gabion installed to protect against erosion | Lmt | 50
6.1 | Steel Reinforcement including supply, Bending & placing with wire binding | Mt | 1
6.11 | Concreting including cost of formwork with fixing of template etc | Cum | 200
6.12 | Other necessary material and equipment | lot | 1
Total Miscellaneous
7 | Mandatory spare parts and tools
7.1 | Towers-132kV line
7.1.1 | Suspension tower 132S-DC | each | 2
7.1.2 | Light angle tower 132T10 | each | 1
7.1.3 | Heavy angle tower 132T60 | each | 1
7.1.4 | Heavy angle tower 132TT | each | 1
7.2 | Conductor
7.2.1 | Single "ACSR LARK" Conductor-400kV line | km | 2
7.2.2 | Single "ACSR LYNX" Conductor-132kV line | km | 3
7.3A | Insulator String & hardware for 400kV line
7.3.1 | Single suspension | set | 6
7.3.2 | Double suspension | set | 6
7.3.3 | Single tension | set | 12
7.3.4 | Double tension |  | 12
7.3.5 | Damper-spacer for conductor | pcs | 100
7.3.6 | Vibration dampers for OPGW,including protection armor rods for install | pcs | 50
7.3B | Insulator String & hardware for 132kV line
7.3.1 | Single suspension | set | 6
7.3.2 | Double suspension | set | 6
7.3.3 | Single tension | set | 12
7.3.4 | Double tension |  | 12
7.3.5 | Damper-spacer for conductor | pcs | 100
7.3.6 | Vibration dampers for OPGW,including protection armor rods for install | pcs | 50
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 2
Plant and Mandatory Spare Parts Supplied from within the Employer's Country
7.4 A | OPGW for 400kV line
7.4.1 | OPGW-2 no. 5km drums | km | 10
7.4.2 | OPGW Joint boxes | set | 1
7.4.3 | Suspension AGS clamps | pcs | 10
7.4.4 | Tension spirals sets | pcs | 10
7.4.5 | Earth connections | pcs | 10
7.4.6 | Down drops OPGW-Tower clamps | lot | 1
7.4.7 | Gantry box | pcs | 2
7.4.8 | Termination box | pcs | 2
7.4.9 | Splice kits | pcs | 2
7.4.10 | Pig tails | pcs | 2
7.4.11 | FC/PC connectors | set | 2
7.4.12 | Special tools for cutting back OPGW and U/G fibre optic cables | set | 1
7.4.13 | Special tools for preparing the fibre for jointing | set | 1
7.4.14 | Fusion splices | lot | 1
7.4.15 | Optical time Domain Reflectors (OTDR) | set | 1
7.4.16 | Optical fibre cleaning kits and cleaver tools | set | 1
7.4.17 | Optical level meter | set | 1
7.4.18 | Laser power source | pcs | 1
7.4.19 | Tool kit | set | 2
7.4 B | OPGW for 132kV line
7.4.20 | OPGW-2 no. 5km drums | km | 10
7.4.21 | OPGW Joint boxes | set | 1
7.4.22 | Suspension AGS clamps | pcs | 10
7.4.23 | Tension spirals sets | pcs | 10
7.4.24 | Earth connections | pcs | 10
7.4.25 | Down drops OPGW-Tower clamps | lot | 1
7.4.26 | Gantry box | pcs | 2
7.4.27 | Termination box | pcs | 2
7.4.28 | Splice kits | pcs | 2
7.4.29 | Pig tails | pcs | 2
7.4.30 | FC/PC connectors | set | 2
7.4.31 | Special tools for cutting back OPGW and U/G fibre optic cables | set | 1
7.4.32 | Special tools for preparing the fibre for jointing | set | 1
7.4.33 | Fusion splices | lot | 1
7.4.34 | Optical time Domain Reflectors (OTDR) | set | 1
7.4.35 | Optical fibre cleaning kits and cleaver tools | set | 1
7.4.36 | Optical level meter | set | 1
7.4.37 | Laser power source | pcs | 1
7.4.38 | Tool kit | set | 2
Total Mandatory Tools and spare Parts
8 | Other Services
8.1 | Factory Acceptance Tests(FAT):
8.1.1 | 132kV TowerS | ls | 1
8.1.2 | 400kV TowerS | ls | 1
8.1.3 | Conductors | ls | 1
8.1.4 | OPGW | ls | 1
8.1.5 | Insulators | ls | 1
8.1.6 | Hardware & fittings | ls | 1
8.1.7 | Earthing system | ls | 2
8.1.8 | Conductor accessories | ls | 3
8.2 | Transport Services and Vehicles for the employer
8.2.1 | Transport Services - Vehicle Type 1 | Nos | 2
8.2.2 | Vehicle type 2 | Nos | 0
8.2.3 | Communication for the engineers and the client ( as per Section 29) | Nos | 10
Total Other Services
Total ( To schedule No.5 Grand Summery)
Name of the Bidder
Signature of the Bidder
Country of origin Declaration Form
Item | Description |  |  |  | Country

## Schedule 3
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 3
Design Services
Item | Description | Unit | Qty | Unit Price |  | Total Price
|  |  | (1) | Foreign Currency Portion (2) | Local Currency Portion (3) | Foreign (1) x (2) | Local (1) x (3)
Specify currency in accordance with specifications in Bid Data Sheet under ITB 18.1 in Single Stage Bid
Overview Details Price Sheets
1 | Preliminary Works
2 | Foundations
3 | Towers
4 | Conductor & OPGW ( including insulator string)
5 | Tower Earthing
6 | Miscellaneous
7 | Mandatory Spare Parts
8 | Other Services
Total to schedule No 5 (Grand Summary)
Detailed Price Sheets
1 | Preliminary Works
1.1 | Mobilization Shall include store yards, site offices | lot | 1
1.2 | Line Survey Shall include profile drawings, tower spotting ,approval of routing and landmark for the Right of way (RoW) | route km | 26.5
1.3 | Soil investigation Shall include sample testing , data report | route km | 6.5
2 | Tower Foundations | lot | 1
3 | Towers | lot | 1
4 | Conductor & OPGW ( Including insulator strings) | lot | 1
5 | Tower Earthing | lot | 1
Total Preliminary Works
Total Amount Excluding VAT ( to schedule No.5 Grand Summary
Add 16% VAT ( to schedule No.5 Grand Summary
Total including VAT ( to schedule No.5 Grand Summary
Name of the Bidder
Signature of the Bidder
Country of origin Declaration Form
Item | Description |  |  |  | Country

## Schedule 4
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 4
Installation and Other Services
Item | Description | Unit | Qty | Unit Price |  | Total Price
|  |  |  | Foreign Currency Portion | Local Currency Portion | Foreign | Local
Bidders shall enter a code representing the country of origin of all imported plant and equipment.
Specify currency create and use as many columns for unit price and total price as there are currencies
Overview Details Price Sheets
1 | Preliminary Works
2 | Foundations
2A | 400kV tower foundation
2B | 132kV tower foundation
3 | Towers
3A | 400kV Towers
3B | 132kV Towers
3C | Tower Tests
4 | Conductor, OPGW, Earth Wire, Insulators & associated items
5 | Tower Earthing
6 | Miscellaneous
7 | Mandatory spare parts and tools
8 | Other Services
Total to schedule No 5 (Grand Summary)
Detailed Price Sheets
1 | Preliminary Works
1.1 | Mobilization Shall include store yards, site offices | lot | 1
1.2 | Line Survey Shall include profile drawings, tower spotting ,approval of routing and landmark for the Right of way (RoW) | route km | 26.5
1.3 | Soil investigation Shall include sample testing , data report | route km | 6.5
1.4 | Line Access Shall include bush clearing, access roads | route km | 6.5
1.5 | Foundation Design | lot | 1
1.6 | Tower Design | lot | 1
1.7 | Insulator Design | lot | 1
Total Preliminary Works
2A | 400kV Tower Foundation, including stub angles
2.1 | Suspension Tower 400S Foundations
2.1.1 | in hard rock ( Class 1) | per tower | 1
2.1.2 | in soft weathered rock (class 2) | per tower | 1
2.1.3 | in good soil condition ( Class 3) | per tower | 2
2.1.4 | in poor soil condition no water ( class 4) | per tower | 1
2.1.5 | in poor soil condition with water ( class 5) | per tower | 1
2.1.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.2 | Light angle Tower 400T10 Foundations
2.2.1 | in hard rock ( Class 1) | per tower | 1
2.2.2 | in soft weathered rock (class 2) | per tower | 1
2.2.3 | in good soil condition ( Class 3) | per tower | 1
2.2.4 | in poor soil condition no water ( class 4) | per tower | 1
2.2.5 | in poor soil condition with water ( class 5) | per tower | 1
2.2.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.3 | Medium angle Tower400T30 Foundations
2.3.1 | in hard rock ( Class 1) | per tower | 1
2.3.2 | in soft weathered rock (class 2) | per tower | 1
2.3.3 | in good soil condition ( Class 3) | per tower | 1
2.3.4 | in poor soil condition no water ( class 4) | per tower | 1
2.3.5 | in poor soil condition with water ( class 5) | per tower | 1
2.3.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 4
Installation and Other Services
2.4 | Heavy angle Tower 400T60 Foundations
2.4.1 | in hard rock ( Class 1) | per tower | 1
2.4.2 | in soft weathered rock (class 2) | per tower | 1
2.4.3 | in good soil condition ( Class 3) | per tower | 2
2.4.4 | in poor soil condition no water ( class 4) | per tower | 1
2.4.5 | in poor soil condition with water ( class 5) | per tower | 1
2.4.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.5 | Terminal Tower 400T90 Foundations
2.5.1 | in hard rock ( Class 1) | per tower | 1
2.5.2 | in soft weathered rock (class 2) | per tower | 1
2.5.3 | in good soil condition ( Class 3) | per tower | 2
2.5.4 | in poor soil condition no water ( class 4) | per tower | 1
2.5.5 | in poor soil condition with water ( class 5) | per tower | 1
2.5.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 7
2.6 | Transposition Tower D400TR Foundations
2.6.1 | in hard rock ( Class 1) | per tower | 1
2.6.2 | in soft weathered rock (class 2) | per tower | 1
2.6.3 | in good soil condition ( Class 3) | per tower | 1
2.6.4 | in poor soil condition no water ( class 4) | per tower | 1
2.6.5 | in poor soil condition with water ( class 5) | per tower | 1
2.6.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
Total all the 400kV foundation |  |  | 39
2B | 132kV Tower Foundation, including stub angles
2.7 | Suspension Tower 132S-SC Foundations
2.7.1 | in hard rock ( Class 1) | per tower | 1
2.7.2 | in soft weathered rock (class 2) | per tower | 1
2.7.3 | in good soil condition ( Class 3) | per tower | 3
2.7.4 | in poor soil condition no water ( class 4) | per tower | 1
2.7.5 | in poor soil condition with water ( class 5) | per tower | 1
2.7.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 8
2.8 | Medium angle Tower 132T30-SC Foundations
2.8.1 | in hard rock ( Class 1) | per tower | 1
2.8.2 | in soft weathered rock (class 2) | per tower | 1
2.8.3 | in good soil condition ( Class 3) | per tower | 1
2.8.4 | in poor soil condition no water ( class 4) | per tower | 1
2.8.5 | in poor soil condition with water ( class 5) | per tower | 1
2.8.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.9 | Heavy angle Tower 132T60-SC Foundations
2.9.1 | in hard rock ( Class 1) | per tower | 1
2.9.2 | in soft weathered rock (class 2) | per tower | 1
2.9.3 | in good soil condition ( Class 3) | per tower | 1
2.9.4 | in poor soil condition no water ( class 4) | per tower | 1
2.9.5 | in poor soil condition with water ( class 5) | per tower | 1
2.9.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.1 | Heavy angle Tower 132-SPECIAL-DC Foundations
2.10.1 | in hard rock ( Class 1) | per tower | 1
2.10.2 | in soft weathered rock (class 2) | per tower | 1
2.10.3 | in good soil condition ( Class 3) | per tower | 1
2.10.4 | in poor soil condition no water ( class 4) | per tower | 1
2.10.5 | in poor soil condition with water ( class 5) | per tower | 1
2.10.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 4
Installation and Other Services
2.11 | Suspension Tower 132S-DC Foundations
2.11.1 | in hard rock ( Class 1) | per tower | 1
2.11.2 | in soft weathered rock (class 2) | per tower | 1
2.11.3 | in good soil condition ( Class 3) | per tower | 5
2.11.4 | in poor soil condition no water ( class 4) | per tower | 1
2.11.5 | in poor soil condition with water ( class 5) | per tower | 1
2.11.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 10
2.12 | Light angle Tower 132T10-DC Foundations
2.12.1 | in hard rock ( Class 1) | per tower | 1
2.12.2 | in soft weathered rock (class 2) | per tower | 1
2.12.3 | in good soil condition ( Class 3) | per tower | 1
2.12.4 | in poor soil condition no water ( class 4) | per tower | 1
2.12.5 | in poor soil condition with water ( class 5) | per tower | 1
2.12.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.13 | Heavy angle Tower 132T60-DC Foundations
2.13.1 | in hard rock ( Class 1) | per tower | 1
2.13.2 | in soft weathered rock (class 2) | per tower | 1
2.13.3 | in good soil condition ( Class 3) | per tower | 1
2.13.4 | in poor soil condition no water ( class 4) | per tower | 1
2.13.5 | in poor soil condition with water ( class 5) | per tower | 1
2.13.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.14 | Terminal Tower 132TT-DC Foundations
2.14.1 | in hard rock ( Class 1) | per tower | 1
2.14.2 | in soft weathered rock (class 2) | per tower | 1
2.14.3 | in good soil condition ( Class 3) | per tower | 1
2.14.4 | in poor soil condition no water ( class 4) | per tower | 1
2.14.5 | in poor soil condition with water ( class 5) | per tower | 1
2.14.6 | in very poor soil condition ( class 6) | per tower | 1
| Total |  | 6
2.15 | Other necessary work to complete the work including removing existing foundation for the dismantled towers up to one meter under ground | lot | 1
Total all the 132kV foundation |  |  | 54
Total Foundations |  |  | 93
3A | 400kV Towers
3.1 | Suspension Tower 400S
3.1.1 | Basic Tower for standard tower height | each | 3
3.1.2 | Body extension -3m | each | 3
3.1.3 | Body extension +3m | each | 1
3.1.4 | Body extension +6m | each | 1
3.1.5 | Body extension+9m | each | 1
3.1.6 | Body extension+12m | each | 1
3.1.7 | Body extension+18m | each | 1
3.1.8 | Leg Extension -1m | each | 4
3.1.9 | Leg Extension -2m | each | 4
3.1.10 | Leg Extension +0m | each | 12
3.1.11 | Leg Extension +1m | each | 4
3.1.12 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.2 | Light angle Tower 400T10
3.2.1 | Basic Tower for standard tower height | each | 1
3.2.2 | Body extension -3m | each | 1
3.2.3 | Body extension +3m | each | 1
3.2.4 | Body extension +6m | each | 1
3.2.5 | Body extension +9m | each | 1
3.2.6 | Body extension+12m | each | 1
3.2.7 | Leg Extension -1m | each | 4
3.2.8 | Leg Extension -2m | each | 4
3.2.9 | Leg Extension +0m | each | 4
3.2.10 | Leg Extension +1m | each | 4
3.2.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 4
Installation and Other Services
3.3 | Heavy angle Tower 400T30
3.3.1 | Basic Tower for standard tower height | each | 1
3.3.2 | Body extension -3m | each | 1
3.3.3 | Body extension +3m | each | 1
3.3.4 | Body extension +6m | each | 1
3.3.5 | Body extension +9m | each | 1
3.3.6 | Body extension+12m | each | 1
3.3.7 | Leg Extension -1m | each | 4
3.3.8 | Leg Extension -2m | each | 4
3.3.9 | Leg Extension +0m | each | 4
3.3.10 | Leg Extension +1m | each | 4
3.3.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.4 | Heavy angle Tower 400T60
3.4.1 | Basic Tower for standard tower height | each | 3
3.4.2 | Body extension -3m | each | 2
3.4.3 | Body extension +3m | each | 1
3.4.4 | Body extension +6m | each | 1
3.4.5 | Body extension +9m | each | 1
3.4.6 | Body extension+12m | each | 1
3.4.7 | Leg Extension -1m | each | 4
3.4.8 | Leg Extension -2m | each | 4
3.4.9 | Leg Extension +0m | each | 12
3.4.10 | Leg Extension +1m | each | 4
3.4.11 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.5 | Terminal Tower 400T90
3.5.1 | Basic Tower for standard tower height | each | 3
3.5.2 | Leg Extension -1m | each | 4
3.5.3 | Leg Extension -2m | each | 4
3.5.4 | Leg Extension +0m | each | 12
3.5.5 | Leg Extension +1m | each | 4
3.5.6 | Leg Extension +2m | each | 4
3.5.7 | Total Towers |  | 3
3.6 | Transposition Tower D400TR
2.6.1 | Basic Tower for standard tower height | per tower | 1
3.6.2 | Leg Extension -1m | each | 4
3.6.3 | Leg Extension -2m | each | 4
3.6.4 | Leg Extension +0m | each | 4
3.6.5 | Leg Extension +1m | each | 4
3.6.5 | Leg Extension +2m | each | 4
3.6.6 | Total Towers |  | 1
| Total all 400kVTowers |  | 12
3B | 132kV Towers
3.7 | Suspension Tower 132S-SC
3.7.1 | Basic Tower for standard tower height | each | 3
3.7.2 | Body extension +0m | each | 1
3.7.3 | Body extension +3m | each | 1
3.7.4 | Body extension +6m | each | 1
3.7.5 | Body extension+9m | each | 1
3.7.6 | Body extension+12m | each | 3
3.7.7 | Body extension+18m | each | 1
3.7.8 | Leg Extension -1m | each | 4
3.7.9 | Leg Extension -2m | each | 4
3.7.10 | Leg Extension +0m | each | 12
3.7.11 | Leg Extension +1m | each | 4
3.7.12 | Leg Extension +2m | each | 4
| Total Towers |  | 3
3.8 | Medium angle Tower 132T30-SC
3.8.1 | Basic Tower for standard tower height | each | 1
3.8.2 | Body extension +0m | each | 1
3.8.3 | Body extension +3m | each | 1
3.8.4 | Body extension +6m | each | 1
3.8.5 | Body extension +9m | each | 1
3.8.6 | Body extension+12m | each | 1
3.8.7 | Leg Extension -1m | each | 4
3.8.8 | Leg Extension -2m | each | 4
3.8.9 | Leg Extension +0m | each | 4
3.8.10 | Leg Extension +1m | each | 4
3.8.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 4
Installation and Other Services
3.9 | Heavy angle Tower 132T60-SC
3.9.1 | Basic Tower for standard tower height | each | 1
3.9.2 | Body extension +0m | each | 1
3.9.3 | Body extension +3m | each | 1
3.9.4 | Body extension +6m | each | 1
3.9.5 | Body extension +9m | each | 1
3.9.6 | Body extension+12m | each | 1
3.9.7 | Leg Extension -1m | each | 4
3.9.8 | Leg Extension -2m | each | 4
3.9.9 | Leg Extension +0m | each | 4
3.9.10 | Leg Extension +1m | each | 4
3.9.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.1 | Heavy angle Tower 132-SPECIAL-DC
3.10.1 | Basic Tower for standard tower height | each | 1
3.10.2 | Body extension +0m | each | 1
3.10.3 | Body extension +3m | each | 1
3.10.4 | Body extension +6m | each | 1
3.10.5 | Body extension +9m | each | 1
3.10.6 | Body extension+12m | each | 1
3.10.7 | Leg Extension -1m | each | 4
3.10.8 | Leg Extension -2m | each | 4
3.10.9 | Leg Extension +0m | each | 4
3.10.10 | Leg Extension +1m | each | 4
3.10.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.11 | Suspension Tower 132S-DC
3.11.1 | Basic Tower for standard tower height | each | 5
3.11.2 | Body extension +0m | each | 1
3.11.3 | Body extension +3m | each | 3
3.11.4 | Body extension +6m | each | 1
3.11.5 | Body extension +9m | each | 1
3.11.6 | Body extension+12m | each | 1
3.11.7 | Leg Extension -1m | each | 4
3.11.8 | Leg Extension -2m | each | 4
3.11.9 | Leg Extension +0m | each | 20
3.11.10 | Leg Extension +1m | each | 4
3.11.11 | Leg Extension +2m | each | 4
| Total Towers |  | 5
3.12 | Light angle Tower 132T10-DC
3.12.1 | Basic Tower for standard tower height | per tower | 1
3.12.2 | Body extension +0m | each | 1
3.12.3 | Body extension +3m | each | 1
3.12.4 | Body extension +6m | each | 1
3.12.5 | Body extension +9m | each | 1
3.12.6 | Body extension+12m | each | 1
3.12.7 | Leg Extension -1m | each | 4
3.12.8 | Leg Extension -2m | each | 4
3.12.9 | Leg Extension +0m | each | 4
3.12.10 | Leg Extension +1m | each | 4
3.12.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.13 | Heavy angle Tower 132T60-DC
3.13.1 | Basic Tower for standard tower height | each | 1
3.13.2 | Body extension +0m | each | 1
3.13.3 | Body extension +3m | each | 1
3.13.4 | Body extension +6m | each | 1
3.13.5 | Body extension +9m | each | 1
3.13.6 | Body extension+12m | each | 1
3.13.7 | Leg Extension -1m | each | 4
3.13.8 | Leg Extension -2m | each | 4
3.13.9 | Leg Extension +0m | each | 4
3.13.10 | Leg Extension +1m | each | 4
3.13.11 | Leg Extension +2m | each | 4
| Total Towers |  | 1
3.14 | Terminal Tower 132TT-DC
3.14.1 | Basic Tower for standard tower height | each | 1
3.14.2 | Leg Extension -1m | each | 4
3.14.3 | Leg Extension -2m | each | 4
3.14.4 | Leg Extension +0m | each | 4
3.14.5 | Leg Extension +1m | each | 4
3.14.6 | Leg Extension +2m | each | 4
| Total Towers |  | 1
| Other necessary work to complete the work including dismantling of the towers and transfer to the client store | lot | 1
| Total all 132kVTowers |  | 14
| Total all Towers |  | 26
3.15 | Tower Load Test
3.15.1 | 132S-SC Standard height +18m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.2 | 132T30-SC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.3 | 132T60-SC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.4 | 132SPECIAL-DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.5 | 132S-DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.6 | 132T10-DC Standard height +12m Body Extn+2m Leg Extn tower type tested to 100% loading | each | 1
3.15.7 | 132T60-DC Standard height +12m Body Extn+2m Leg Extn tower type tested to 100% loading | each | 1
3.15.8 | 132TT-DC Standard height +12mBody Extn+2m Leg Extn tower type to 100% loading | each | 1
3.15.9 | 132-SPECIAL-DC Standard height+12mBody Extn+2m Leg Extn tower type to 100% loading | each | 1
3.15.10 | 400S-DC Standard height +18m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.11 | 400T10 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.12 | 400T30 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.13 | 400T60DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.14 | 400T90 DC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
3.15.15 | D400TRDC Standard height +12m Body Extn +2m Leg Extn tower type tested up to destruction | each | 1
Total Tower Tests
3.17 | Other necessary work to be done to complete the work | lot | 1
Total Towers
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 4
Installation and Other Services
4A | 400kV Conductor, ACS & OPGW ( Including insulator strings)
4.1 | Insulator strings ( hardware and insulators)
4.1.1 | Single suspension string | set | 9
4.1.2 | Double suspension string | set | 9
4.1.3 | Single tension string | set | 12
4.1.4 | Double tension string | set | 54
4.1.5 | Jumper suspension string | set | 39
Total insulator strings & associated items
4.2 | Conductor
4.2.1 | 2 Circuits ( x 3 Phase x Quad "ACSR" LARK per phase) including joints and jumpers | km | 60
4.2.2 | Damper-spacers for conductor | each | 504
Total Phase Conductors & Damper-Spacers
4.3 | OPGW system
4.3.1 | OPGW to be replaced backwards up to where the existing splice boxes are on both sides of the existing 400kV line | km | 6
4.3.2 | Suspension assembly | set | 3
4.3.3 | Tension assemblies double sets, including tower bonding, down drop connections and coils at joining towers | set | 2
4.3.4 | Tension assemblies double sets, including tower bonding for tension tower by-pass | set | 18
4.3.5 | Joint Boxes | set | 2
4.3.6 | Joint Termination Boxes | set | 2
4.3.7 | OPGW connection to S/S gantries | set | 2
4.3.8 | Stock bridge vibration damper | set | 72
Total OPGW & associated items
4.4 | Earth wire
4.4.1 | ACS Earth wire | km | 1.98
4.4.2 | Suspension assembly | set | 3
4.4.3 | Tension assemblies double sets, including tower bonding | set | 20
4.4.4 | Stock bridge vibration damper | set | 72
Total Earth Wire & associated items
4.5 | Other necessary work to be done to complete the work | lot | 1
Total for 400kV Conductor, OPGW & Earth Wire
4B | 132kV Conductor, GSW & OPGW ( Including insulator strings)
4.6 | 132kV Insulator strings ( hardware and insulators)
4.6.1 | Single suspension string | set | 30
4.6.2 | Double suspension string | set | 9
4.6.3 | Single tension string | set | 36
4.6.4 | Double tension string | set | 24
4.6.5 | Jumper suspension string | set | 15
Total insulator strings & associated items
4.7 | 132kV Conductor
4.7.1 | 2 Circuits (x 3 Phase x single ACSR LYNX per phase) including joints and jumpers | km | 23
4.7.2 | Dampers for conductor | each | 414
Total Phase Conductors & Damper-Spacers
4.8 | 132kV line-OPGW system
4.8.1 | OPGW to be replaced backwards up to where the existing splice boxes are on both sides of the existing 132kV line | km | 8.5
4.8.2 | Suspension assembly | set | 13
4.8.3 | Tension assemblies double sets, including tower bonding, down drop connections and coils at joining towers | set | 2
4.8.4 | Tension assemblies double sets, including tower bonding for tension tower by-pass | set | 22
4.8.5 | Joint Boxes | set | 2
4.8.6 | Joint Termination Boxes | set | 2
4.8.7 | OPGW connection to S/S gantries | set | 2
4.8.8 | Stock bridge vibration damper | set | 92
Total OPGW & associated items
4.9 | 132kV line-Earth wire
4.9.1 | ACS Earth wire | km | 0
4.9.2 | Suspension assembly | set | 0
4.9.3 | Tension assemblies double sets, including tower bonding | set | 2
4.9.4 | Stock bridge vibration damper | set | 0
Total Earth Wire & associated items
4.1 | Other necessary material and equipment for terminating the existing ACS earth wire and restringing at the existing 132kV line | lot | 1
Total for 132kV Conductor, OPGW & Earth Wire
Total 400kV and 132kV Conductors, OPGWs & Earth Wires
5 | Tower Earthing
5.1 | Basic Tower Earthing Step 1 | tower | 26
5.2 | Additional Tower Earthing Step 2 | tower | 19
5.3 | Additional Tower Earthing Step 3 | tower | 3
5.4 | Tower Earthing in the hard rock area (GEM) | tower | 2
5.5 | Grading Rings | tower | 3
5.6 | Other necessary material and equipment | lot | 1
Total Tower Earthing
6 | Miscellaneous
6.1 | Foundation protection | per tower | 3
6.2 | Painting towers ( Partial or Complete) with red/white color for aircraft warning purpose | per tower | 10
6.3 | Aircraft warning system -warning spheres | per tower | 10
6.4 | Aircraft warning system -warning lights | per tower | 10
6.5 | Excavation & Back filling in lava fields, clayey, volcanic ash, murram, red, sandy or cotton soil | Cum | 1000
6.6 | Solid Rock Excavation including reinstatement | Cum | 1000
6.7 | Imported Back Filling | Cum | 1000
6.8 | Rip-Rap Stone works to protect against erosion | Sqm | 100
6.9 | 1 M X 1 M X 1 M rock filled Gabion installed to protect against erosion | Lmt | 50
6.1 | Steel Reinforcement including supply, Bending & placing with wire binding | Mt | 1
6.11 | Concreting including cost of formwork with fixing of template etc | Cum | 200
6.12 | Other necessary material and equipment | lot | 1
6.13 | Line test and commissioning | lot | 1
Total Miscellaneous
7 | Mandatory spare parts and tools
7.1 | Towers-132kV line
7.1.1 | Suspension tower 132S-DC | each | 2
7.1.2 | Light angle tower 132T10 | each | 1
7.1.3 | Heavy angle tower 132T60 | each | 1
7.1.4 | Heavy angle tower 132TT | each | 1
7.2 | Conductor
7.2.1 | Single "ACSR LARK" Conductor-400kV line | km | 2
7.2.2 | Single "ACSR LYNX" Conductor-132kV line | km | 3
7.3A | Insulator String & hardware for 400kV line
7.3.1 | Single suspension | set | 6
7.3.2 | Double suspension | set | 6
7.3.3 | Single tension | set | 12
7.3.4 | Double tension |  | 12
7.3.5 | Damper-spacer for conductor | pcs | 100
7.3.6 | Vibration dampers for OPGW,including protection armor rods for install | pcs | 50
7.3B | Insulator String & hardware for 132kV line
7.3.1 | Single suspension | set | 6
7.3.2 | Double suspension | set | 6
7.3.3 | Single tension | set | 12
7.3.4 | Double tension |  | 12
7.3.5 | Damper-spacer for conductor | pcs | 100
7.3.6 | Vibration dampers for OPGW,including protection armor rods for install | pcs | 50
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 4
Installation and Other Services
7.4 A | OPGW for 400kV line
7.4.1 | OPGW | km | 10
7.4.2 | OPGW Joint boxes | set | 1
7.4.3 | Suspension AGS clamps | pcs | 10
7.4.4 | Tension spirals sets | pcs | 10
7.4.5 | Earth connections | pcs | 10
7.4.6 | Down drops OPGW-Tower clamps | lot | 1
7.4.7 | Gantry box | pcs | 2
7.4.8 | Termination box | pcs | 2
7.4.9 | Splice kits | pcs | 2
7.4.10 | Pig tails | pcs | 2
7.4.11 | FC/PC connectors | set | 2
7.4.12 | Special tools for cutting back OPGW and U/G fibre optic cables | set | 1
7.4.13 | Special tools for preparing the fibre for jointing | set | 1
7.4.14 | Fusion splices | lot | 1
7.4.15 | Optical time Domain Reflectors (OTDR) | set | 1
7.4.16 | Optical fibre cleaning kits and cleaver tools | set | 1
7.4.17 | Optical level meter | set | 1
7.4.18 | Laser power source | pcs | 1
7.4.19 | Tool kit | set | 2
7.4 B | OPGW for 132kV line
7.4.20 | OPGW | km | 10
7.4.21 | OPGW Joint boxes | set | 1
7.4.22 | Suspension AGS clamps | pcs | 10
7.4.23 | Tension spirals sets | pcs | 10
7.4.24 | Earth connections | pcs | 10
7.4.25 | Down drops OPGW-Tower clamps | lot | 1
7.4.26 | Gantry box | pcs | 2
7.4.27 | Termination box | pcs | 2
7.4.28 | Splice kits | pcs | 2
7.4.29 | Pig tails | pcs | 2
7.4.30 | FC/PC connectors | set | 2
7.4.31 | Special tools for cutting back OPGW and U/G fibre optic cables | set | 1
7.4.32 | Special tools for preparing the fibre for jointing | set | 1
7.4.33 | Fusion splices | lot | 1
7.4.34 | Optical time Domain Reflectors (OTDR) | set | 1
7.4.35 | Optical fibre cleaning kits and cleaver tools | set | 1
7.4.36 | Optical level meter | set | 1
7.4.37 | Laser power source | pcs | 1
7.4.38 | Tool kit | set | 2
Total Mandatory Tools and spare Parts
8.1 | Factory Acceptance Tests(FAT):
8.1.1 | 132kV Towers | ls | 1
8.1.2 | 400kV Towers | ls | 1
8.1.3 | Conductors | ls | 1
8.1.4 | OPGW | ls | 1
8.1.5 | Insulators | ls | 1
8.1.6 | Hardware & fittings | ls | 1
8.1.7 | Earthing system | ls | 2
8.1.8 | Conductor accessories | ls | 3
8.2 | Transport Services and Vehicles for the employer
8.2.1 | Transport Services - Vehicle Type 1 | Nos | 2
8.2.2 | Vehicle Type 2 | Nos | 0
8.2.3 | Communication for the engineers and the client ( as per Section 29) | Nos | 10
Total Other Services
Total ( To schedule No.5 Grand Summery)
Name of the Bidder
Signature of the Bidder
Country of origin Declaration Form
Item | Description |  |  |  | Country

## Schedule 5-Grand Summary
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 5
Grand Summary
Item | Description | Unit | Qty | Unit Price |  | Total Price
|  |  | (1) | Foreign Currency Portion (2) | Local Currency Portion (3) | Foreign (1) x (2) | Local (1) x (3)
Specify currency in accordance with specifications in Bid Data Sheet under ITB 18.1 in Single Stage Bid
use as many columns for foreign currency requirement as there are foreign currencies
1 | Total Schedule No. 1 Plant and Mandatory Spare Parts Supplied from Abroad
2 | Total Schedule No. 2 Plant and Mandatory Spare Parts Supplied from within the Employer's Country
3 | Total Schedule No. 3 Design Services
4 | Total Schedule No. 4 Installation and Other services
Total
Total Amount Excluding VAT
Total VAT
Total including VAT
Name of the Bidder
Signature of the Bidder

## Schedule 6
400/132kV MAKINDU Transmission lines- LILO
Schedules of Rates and Prices
Schedule No. 6
Recommended Spare Parts
Item | Description | Unit | Qty | Unit Price |  | Total Price
|  |  | (1) | CIF or CIP (foreign parts) (2) | EXW (local parts) (3) | (1) X (2)x(3)
Overview Details Price Sheets
1 | Preliminary Works |  |  | NONE
2 | Foundations
3 | Towers
4 | Conductor & OPGW ( including insulator string)
5 | Tower Earthing
6 | Miscellaneous
7 | Mandatory Spare Parts
8 | Other Services
Name of the Bidder
Signature of the Bidder